## About
BTC BAU Transmission Capacity | Pennsylvania | 2021-04-21
Source: | National Renewable Energy Laboratory
2012
Renewable Energy Futures Study: Volume 1
http://www.nrel.gov/docs/fy12osti/52409-1.pdf
Page 3-14, Figure 3-8
Source: | HIFLD Open Data Electric Power Transmission Lines
2020
https://hifld-geoplatform.opendata.arcgis.com/datasets/electric-power-transmission-lines
Analysis done by RMI calculations
Notes
HIFLD provides the shape files of transmission lines across the continental US with voltage
A large number of lines have no rated voltage on the HIFLD database; we calculated the median voltage and applied that
to all unknown lines (122 V). For all lines with a range of possible numbers (ie 100-161 V), we used the average (130.5V).
Overall, we calculated the kV*miles and total miles for each state (results in HIFLD output tab). We then used this state level data to downscale national transmission data

## HIFLD Outputs
Ranking by kvolt*miles | State | Abb | kVolt Miles | Miles | Fraction kV*miles / total
1 | Texas | TX | 12422854.1115 | 66809.8419 | 0.084009
2 | California | CA | 10672018.0633 | 51067.879 | 0.072169
3 | Oregon | OR | 5571798.9625 | 20876.7806 | 0.037679
4 | Washington | WA | 5407549.7071 | 24875.4621 | 0.036569
5 | Ohio | OH | 4601291.7778 | 21215.9972 | 0.031116
6 | Nevada | NV | 4475926.362 | 12414.9224 | 0.030268
7 | Indiana | IN | 4333497.1359 | 19235.6879 | 0.029305
8 | Arizona | AZ | 4161224.3382 | 15442.246 | 0.02814
9 | Florida | FL | 3803657.718 | 21123.4607 | 0.025722
10 | Georgia | GA | 3764607.6233 | 19550.8655 | 0.025458
11 | New York | NY | 3642095.8985 | 22575.5921 | 0.02463
12 | Minnesota | MN | 3603526.7277 | 20544.8683 | 0.024369
13 | Illinois | IL | 3574981.8313 | 17204.5778 | 0.024176
14 | North Dakota | ND | 3449788.8087 | 21787.6161 | 0.023329
15 | Pennsylvania | PA | 3448721.0722 | 16392.6316 | 0.023322
16 | Michigan | MI | 3432781.5974 | 18572.9119 | 0.023214
17 | North Carolina | NC | 3384204.1882 | 20055.3332 | 0.022886
18 | Oklahoma | OK | 3376193.7675 | 20772.0321 | 0.022831
19 | Virginia | VA | 3234315.4391 | 13599.3977 | 0.021872
20 | Tennessee | TN | 3174876.9977 | 16305.038 | 0.02147
21 | Montana | MT | 3143481.9686 | 20456.8176 | 0.021258
22 | Colorado | CO | 3130636.2532 | 18596.379 | 0.021171
23 | Alabama | AL | 3053410.7568 | 17647.0203 | 0.020649
24 | Missouri | MO | 3000586.5036 | 18334.8156 | 0.020291
25 | Utah | UT | 2845576.6065 | 14289.0343 | 0.019243
26 | Idaho | ID | 2792375.1496 | 14823.2522 | 0.018883
27 | Kentucky | KY | 2731526.3073 | 17556.0542 | 0.018472
28 | West Virginia | WV | 2678698.4432 | 10787.9985 | 0.018115
29 | South Carolina | SC | 2498948.3451 | 16041.8242 | 0.016899
30 | Kansas | KS | 2421458.4219 | 13667.7971 | 0.016375
31 | Wisconsin | WI | 2404820.2784 | 17248.1312 | 0.016263
32 | New Mexico | NM | 2378512.9078 | 11817.0164 | 0.016085
33 | Nebraska | NE | 2322839.5769 | 12753.522 | 0.015708
34 | Wyoming | WY | 2306013.4656 | 13615.7363 | 0.015594
35 | South Dakota | SD | 2246414.6806 | 13231.1921 | 0.015191
36 | Mississippi | MS | 2164216.9809 | 11731.9855 | 0.014636
37 | Arkansas | AR | 2059792.1957 | 11571.5393 | 0.013929
38 | Iowa | IA | 1987989.8464 | 11082.8324 | 0.013444
39 | Louisiana | LA | 1954175.4088 | 10843.9383 | 0.013215
40 | Maryland | MD | 1216649.504 | 5859.2601 | 0.0082276
41 | New Jersey | NJ | 1056553.2099 | 4148.372 | 0.0071449
42 | Massachusetts | MA | 942458.3732 | 5222.9083 | 0.0063734
43 | Maine | ME | 734512.9691 | 4294.7116 | 0.0049671
44 | New Hampshire | NH | 577792.2435 | 2684.0414 | 0.0039073
45 | Alaska | AK | 492649.3818 | 3653.977 | 0.0033315
46 | Connecticut | CT | 440233.4833 | 2559.127 | 0.0029771
47 | Vermont | VT | 350970.5869 | 2220.807 | 0.0023734
48 | Delaware | DE | 227548 | 1177.9693 | 0.0015388
49 | Rhode Island | RI | 109707.6938 | 632.5962 | 0.0007419
50 | Hawaii | HI | 67983.2526 | 773.5039 | 0.00045974
Total |  |  | 147874444.9231

## Data National
BAU transmission capacity in 2010 is given in the figure caption as
150-200 million MW*miles. The graph shows the additional quantity
of transmission being built in the "baseline" scenario, which extends
to 2050 in the RE Futures Report. We assume the growth is linear
and interpolate.
Unfortunately, data are only available as a graph (not in numbers), so
we must estimate by measuring pixels on the graph.
2010 Transmission (low estimate): | 150000000 | MW*miles
2010 Transmission (high estimate): | 200000000 | MW*miles
2010 Transmission: | 175000000 | MW*miles
BAU New Transmission
Pixels per 50 million MW*miles: | 141 | pixels
Pixel height of new transmission: | 15 | pixels
New transmission quantity in 2050 | 5319148.9362 | MW*miles
National Data
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
BAU Transmission Capacity (MW*miles) | 175000000 | 175132978.7234 | 175265957.4468 | 175398936.1702 | 175531914.8936 | 175664893.617 | 175797872.3404 | 175930851.0638 | 176063829.7872 | 176196808.5106 | 176329787.234 | 176462765.9574 | 176595744.6809 | 176728723.4043 | 176861702.1277 | 176994680.8511 | 177127659.5745 | 177260638.2979 | 177393617.0213 | 177526595.7447 | 177659574.4681 | 177792553.1915 | 177925531.9149 | 178058510.6383 | 178191489.3617 | 178324468.0851 | 178457446.8085 | 178590425.5319 | 178723404.2553 | 178856382.9787 | 178989361.7021 | 179122340.4255 | 179255319.1489 | 179388297.8723 | 179521276.5957 | 179654255.3191 | 179787234.0426 | 179920212.766 | 180053191.4894 | 180186170.2128 | 180319148.9362
State
Pennsylvania | 4081342.0327 | 4084443.3565 | 4087544.6802 | 4090646.0039 | 4093747.3277 | 4096848.6514 | 4099949.9751 | 4103051.2989 | 4106152.6226 | 4109253.9463 | 4112355.2701 | 4115456.5938 | 4118557.9175 | 4121659.2413 | 4124760.565 | 4127861.8887 | 4130963.2125 | 4134064.5362 | 4137165.8599 | 4140267.1837 | 4143368.5074 | 4146469.8311 | 4149571.1549 | 4152672.4786 | 4155773.8023 | 4158875.1261 | 4161976.4498 | 4165077.7735 | 4168179.0973 | 4171280.421 | 4174381.7447 | 4177483.0685 | 4180584.3922 | 4183685.7159 | 4186787.0397 | 4189888.3634 | 4192989.6871 | 4196091.0109 | 4199192.3346 | 4202293.6583 | 4205394.9821

## BTC
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
BAU Transmission Capacity (MW*miles) | 4081342.0327 | 4084443.3565 | 4087544.6802 | 4090646.0039 | 4093747.3277 | 4096848.6514 | 4099949.9751 | 4103051.2989 | 4106152.6226 | 4109253.9463 | 4112355.2701 | 4115456.5938 | 4118557.9175 | 4121659.2413 | 4124760.565 | 4127861.8887 | 4130963.2125 | 4134064.5362 | 4137165.8599 | 4140267.1837 | 4143368.5074 | 4146469.8311 | 4149571.1549 | 4152672.4786 | 4155773.8023 | 4158875.1261 | 4161976.4498 | 4165077.7735 | 4168179.0973 | 4171280.421 | 4174381.7447 | 4177483.0685 | 4180584.3922 | 4183685.7159 | 4186787.0397 | 4189888.3634 | 4192989.6871 | 4196091.0109 | 4199192.3346 | 4202293.6583 | 4205394.9821