## About
DSCF Distributed Solar Capacity Factor | Minnesota
Source: | NREL
2019
Annual Technology Baseline 2019
https://atb.nrel.gov/electricity/2019/data.html
"Solar - PV Dist. Res" tab
Source for state data | SAM NREL Tool
2019
Photovoltaic, Residential Simulation
https://sam.nrel.gov/
Notes (ATB)
We use the average of the "Low" and "Mid" cases for each city.
Notes (SAM state data)
The location chosen was geographically in the middle of the state, generated by typing the state name into the "Download weather file" text box
Normalized based on national growth rate
DOES NOT WORK FOR ALL 50 STATES
Only pulled data for 20 states-- to extend, run the SAM module

## From SAM Data Pull
Arizona | 20.8
Colorado | 20.2
Florida | 18.8
Illinois | 16.6
Indiana | 16.3
Iowa | 16.4941
Maine | 14.8002
Maryland | 16.6537
Michigan | 14.8429
Minnesota | 16.115
Nevada | 19.7212
New Jersey | 16.4038
New Mexico | 21.6853
North Carolina | 17.1061
Ohio | 15.3332
Oregon | 17.6182
Pennsylvania | 14.695
Texas | 18.986
Virginia | 16.3321
Wisconsin | 15.9392
National Capacity factors
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Capacity Factor (dimensionless)
Normalized to 2019 growth

## Solar - PV Dist. Res
Solar Distributed Residential PV Inputs | [9 empty] | https://atb.nrel.gov/electricity/2019/index.html?t=sr
Inputs
[8 empty] | Take me to: | [9 empty] | Calculated
| X |  |  |  | Current Costs
[6 empty] | Techno-Economic Cost and Performance Parameters |  | Net Capacity Factor (%) | Res PV - Seattle | 12.58% |  |  | Basis Year: |  | 2017
[9 empty] | Res PV - Chicago | 14.79%
[9 empty] | Res PV - Kansas City | 16.21% |  |  | Residential Solar Photovoltaic
[9 empty] | Res PV - Los Angeles | 18.21%
[9 empty] | Res PV - Daggett, CA | 20.81%
Representative Dist. Res system is fixed-tilt roof mounted with capacity of 5 kW
[8 empty] | Annual Energy Production (kWh/kW) | Res PV - Seattle |  |  |  | Overnight Capital Cost, Capacity Factor, Fixed O&M, and Variable O&M costs
[9 empty] | Res PV - Chicago |  |  |  | represent $/kW DC; however LCOE reflects $/MWh AC.
[9 empty] | Res PV - Kansas City |  |  |  | Capacity factors chosen here to reflect range of across the continental U.S. using NREL PVWATTS
Res PV - Los Angeles
Res PV - Daggett, CA
[17 empty] | Available | Available
[8 empty] | CAPEX ($/kW) | Res PV - Seattle | [7 empty] | Capacity | Generation
[9 empty] | Res PV - Chicago | [7 empty] | (GW) | (GWh)
[9 empty] | Res PV - Kansas City | [7 empty] | 731 | 926000
Res PV - Los Angeles
Res PV - Daggett, CA
[13 empty] | Res PV - Seattle |  | ATB values reflect annual average capacity factor over life of plant including estimated degradation, starting at 0.75% per year, reducing to 0.3% and 0.5% annual degradation by 2050 for the low- and mid-cases.
[8 empty] | Construction Financing Cost ($/kW) | Res PV - Seattle |  |  |  | Res PV - Chicago
[9 empty] | Res PV - Chicago |  |  |  | Res PV - Kansas City
[9 empty] | Res PV - Kansas City |  |  |  | Res PV - Los Angeles | Res PV - Los Angeles
[9 empty] | Res PV - Los Angeles |  |  |  | Res PV - Daggett, CA | Res PV - Daggett, CA
Res PV - Daggett, CA
Financial Assumptions:
[8 empty] | Overnight Capital Cost ($/kW) | Res PV - Seattle |  |  |  | Inflation Rate
[9 empty] | Res PV - Chicago |  |  |  | Capital Recovery Period (Years) |  |  |  | 30
[9 empty] | Res PV - Kansas City |  |  |  | Interest Rate Nominal - Mid
Res PV - Los Angeles
Res PV - Daggett, CA
Calculated Interest Rate Real - Mid
[8 empty] | Fixed Operation and Maintenance Expenses ($/kW/yr) | Res PV - Seattle |  |  |  | Interest During Construction - Nominal
[9 empty] | Res PV - Chicago |  |  |  | Rate of Return on Equity Nominal - Mid
[9 empty] | Res PV - Kansas City |  |  |  | Calculated Rate of Return on Equity Real - Mid
Res PV - Los Angeles
Res PV - Daggett, CA
Debt Fraction - Mid
[8 empty] | Variable Operation and Maintenance Expenses ($/MWh) | Res PV - Seattle | 0 |  |  | Tax Rate (Federal and State)
[9 empty] | Res PV - Chicago | 0 |  |  | WACC Nominal - Mid
[9 empty] | Res PV - Kansas City | 0 |  |  | WACC Real - Mid
[9 empty] | Res PV - Los Angeles | 0
[9 empty] | Res PV - Daggett, CA | 0
[13 empty] | Depreciation Period |  |  |  | 5
[13 empty] | Construction Finance Factor |  |  |  | 1
[6 empty] | Finance |  | Weighted Average Cost of Capital (WACC) (Nominal) (%) | Res PV - Seattle |  |  |  | Present Value of Depreciation
[9 empty] | Res PV - Chicago |  |  |  | Project Finance Factor
[9 empty] | Res PV - Kansas City |  |  |  | Capital Recovery Factor (CRF) Nominal - Mid
Res PV - Los Angeles
Res PV - Daggett, CA
Capital Recovery Factor (CRF) Real - Mid
[6 empty] | Grid Connection Costs |  | Grid Connection Costs (GCC) ($/kW) | Res PV - Seattle |  |  |  | Construction Duration yrs |  | 0
[9 empty] | Res PV - Chicago |  |  |  | Year | Capital | Accumulated
[9 empty] | Res PV - Kansas City |  |  |  | Index | Fraction | Interest
Res PV - Los Angeles
Res PV - Daggett, CA
[13 empty] | 0 | 100%
[8 empty] | Grid Feature Costs ($/kW) | Res PV - Seattle | 0 |  |  | 1 | 0%
[9 empty] | Res PV - Chicago | 0 |  |  | 2 | 0%
[9 empty] | Res PV - Kansas City | 0
[9 empty] | Res PV - Los Angeles | 0
[9 empty] | Res PV - Daggett, CA | 0
[12 empty] | MACRS yr | 1 | 2 | 3 | 4 | 5 | 6
[8 empty] | Onshore Spur Line Costs ($/kW) | Res PV - Seattle | 0 |  | Depreciation | 0.2 | 0.32 | 0.192 | 0.1152 | 0.1152 | 0.0576
[9 empty] | Res PV - Chicago | 0 |  | Fraction
[9 empty] | Res PV - Kansas City | 0 |  | Depreciation
[9 empty] | Res PV - Los Angeles | 0
[9 empty] | Res PV - Daggett, CA | 0
Factor
[6 empty] | LCOE |  | Levelized Cost of Energy ($/MWh) | Res PV - Seattle
Res PV - Chicago
Res PV - Kansas City
Res PV - Los Angeles
Res PV - Daggett, CA
[8 empty] | Overnight Levelized Cost of Energy ($/MWh) | Res PV - Seattle
Res PV - Chicago
Res PV - Kansas City
Res PV - Los Angeles
Res PV - Daggett, CA
***Note: For future projections, low, mid, and high refer to the resulting low, mid, and high LCOE projections.
|  |  | X |  | Future Projections
[10 empty] | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
[6 empty] | Techno-Economic Cost and Performance Parameters |  | Net Capacity Factor (%) | Res PV - Seattle - Low | 12.58% | 12.6% | 12.62% | 12.64% | 12.66% | 12.68% | 12.69% | 12.71% | 12.73% | 12.75% | 12.77% | 12.78% | 12.8% | 12.82% | 12.84% | 12.86% | 12.88% | 12.89% | 12.91% | 12.93% | 12.95% | 12.97% | 12.98% | 13% | 13.02% | 13.04% | 13.06% | 13.08% | 13.09% | 13.11% | 13.13% | 13.15% | 13.17% | 13.18%
[9 empty] | Res PV - Seattle - Mid | 12.58% | 12.59% | 12.6% | 12.61% | 12.62% | 12.62% | 12.63% | 12.64% | 12.65% | 12.66% | 12.67% | 12.67% | 12.68% | 12.69% | 12.7% | 12.71% | 12.71% | 12.72% | 12.73% | 12.74% | 12.75% | 12.75% | 12.76% | 12.77% | 12.78% | 12.79% | 12.8% | 12.8% | 12.81% | 12.82% | 12.83% | 12.84% | 12.84% | 12.85%
[9 empty] | Res PV - Seattle - Constant | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58% | 12.58%
[9 empty] | Res PV - Chicago - Low | 14.79% | 14.81% | 14.83% | 14.85% | 14.87% | 14.89% | 14.91% | 14.94% | 14.96% | 14.98% | 15% | 15.02% | 15.04% | 15.06% | 15.09% | 15.11% | 15.13% | 15.15% | 15.17% | 15.19% | 15.21% | 15.23% | 15.26% | 15.28% | 15.3% | 15.32% | 15.34% | 15.36% | 15.38% | 15.41% | 15.43% | 15.45% | 15.47% | 15.49%
[9 empty] | Res PV - Chicago - Mid | 14.79% | 14.8% | 14.81% | 14.81% | 14.82% | 14.83% | 14.84% | 14.85% | 14.86% | 14.87% | 14.88% | 14.89% | 14.9% | 14.91% | 14.92% | 14.93% | 14.94% | 14.95% | 14.96% | 14.97% | 14.98% | 14.99% | 15% | 15.01% | 15.02% | 15.02% | 15.03% | 15.04% | 15.05% | 15.06% | 15.07% | 15.08% | 15.09% | 15.1%
[9 empty] | Res PV - Chicago - Constant | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79% | 14.79%
[9 empty] | Res PV - Kansas City - Low | 16.21% | 16.23% | 16.25% | 16.28% | 16.3% | 16.32% | 16.35% | 16.37% | 16.39% | 16.42% | 16.44% | 16.46% | 16.49% | 16.51% | 16.54% | 16.56% | 16.58% | 16.61% | 16.63% | 16.65% | 16.68% | 16.7% | 16.72% | 16.75% | 16.77% | 16.79% | 16.82% | 16.84% | 16.86% | 16.89% | 16.91% | 16.93% | 16.96% | 16.98%
[9 empty] | Res PV - Kansas City - Mid | 16.21% | 16.22% | 16.23% | 16.24% | 16.25% | 16.26% | 16.27% | 16.28% | 16.29% | 16.3% | 16.31% | 16.32% | 16.33% | 16.34% | 16.35% | 16.36% | 16.37% | 16.39% | 16.4% | 16.41% | 16.42% | 16.43% | 16.44% | 16.45% | 16.46% | 16.47% | 16.48% | 16.49% | 16.5% | 16.51% | 16.52% | 16.53% | 16.54% | 16.55%
[9 empty] | Res PV - Kansas City - Constant | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21% | 16.21%
[9 empty] | Res PV - Los Angeles - Low | 18.21% | 18.24% | 18.26% | 18.29% | 18.32% | 18.34% | 18.37% | 18.4% | 18.42% | 18.45% | 18.47% | 18.5% | 18.53% | 18.55% | 18.58% | 18.61% | 18.63% | 18.66% | 18.68% | 18.71% | 18.74% | 18.76% | 18.79% | 18.82% | 18.84% | 18.87% | 18.89% | 18.92% | 18.95% | 18.97% | 19% | 19.03% | 19.05% | 19.08%
[9 empty] | Res PV - Los Angeles - Mid | 18.21% | 18.22% | 18.23% | 18.25% | 18.26% | 18.27% | 18.28% | 18.29% | 18.3% | 18.32% | 18.33% | 18.34% | 18.35% | 18.36% | 18.38% | 18.39% | 18.4% | 18.41% | 18.42% | 18.43% | 18.45% | 18.46% | 18.47% | 18.48% | 18.49% | 18.5% | 18.52% | 18.53% | 18.54% | 18.55% | 18.56% | 18.58% | 18.59% | 18.6%
[9 empty] | Res PV - Los Angeles - Constant | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21% | 18.21%
[9 empty] | Res PV - Daggett, CA - Low | 20.81% | 20.84% | 20.87% | 20.9% | 20.93% | 20.96% | 20.99% | 21.02% | 21.05% | 21.08% | 21.11% | 21.14% | 21.17% | 21.2% | 21.23% | 21.26% | 21.29% | 21.32% | 21.35% | 21.38% | 21.41% | 21.44% | 21.47% | 21.5% | 21.53% | 21.56% | 21.59% | 21.62% | 21.65% | 21.68% | 21.71% | 21.74% | 21.77% | 21.8%
[9 empty] | Res PV - Daggett, CA - Mid | 20.81% | 20.82% | 20.83% | 20.85% | 20.86% | 20.88% | 20.89% | 20.9% | 20.92% | 20.93% | 20.94% | 20.96% | 20.97% | 20.98% | 21% | 21.01% | 21.02% | 21.04% | 21.05% | 21.06% | 21.08% | 21.09% | 21.1% | 21.12% | 21.13% | 21.14% | 21.16% | 21.17% | 21.18% | 21.2% | 21.21% | 21.22% | 21.24% | 21.25%
[9 empty] | Res PV - Daggett, CA - Constant | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81% | 20.81%
[10 empty] | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
[8 empty] | Annual Energy Production (kWh/kW) | Res PV - Seattle - Low
Res PV - Seattle - Mid
Res PV - Seattle - Constant
Res PV - Chicago - Low
Res PV - Chicago - Mid
Res PV - Chicago - Constant
Res PV - Kansas City - Low
Res PV - Kansas City - Mid
Res PV - Kansas City - Constant
Res PV - Los Angeles - Low
Res PV - Los Angeles - Mid
Res PV - Los Angeles - Constant
Res PV - Daggett, CA - Low
Res PV - Daggett, CA - Mid
Res PV - Daggett, CA - Constant
[10 empty] | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
[8 empty] | CAPEX ($/kW) | Res PV - Seattle - Low
Res PV - Seattle - Mid
Res PV - Seattle - Constant
Res PV - Chicago - Low
Res PV - Chicago - Mid
Res PV - Chicago - Constant
Res PV - Kansas City - Low
Res PV - Kansas City - Mid
Res PV - Kansas City - Constant
Res PV - Los Angeles - Low
Res PV - Los Angeles - Mid
Res PV - Los Angeles - Constant
Res PV - Daggett, CA - Low
Res PV - Daggett, CA - Mid
Res PV - Daggett, CA - Constant
[10 empty] | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
[8 empty] | Overnight Capital Cost ($/kW) | Res PV - Seattle - Low | 2769.7352 | 2639.7973 | 2346.066 | 2217.0323 | 2075.6523 | 1934.2723 | 1792.8922 | 1651.5122 | 1510.1321 | 1368.7521 | 1227.372 | 1085.992 | 944.6119 | 803.2319 | 783.7623 | 764.2927 | 744.8231 | 725.3535 | 705.8839 | 686.4143 | 666.9447 | 647.4752 | 628.0056 | 608.536 | 599.2235 | 589.9111 | 580.5987 | 571.2862 | 561.9738 | 559.579 | 557.1843 | 554.7895 | 552.3948 | 550
[9 empty] | Res PV - Seattle - Mid | 2769.7352 | 2639.7973 | 2575.3202 | 2510.8431 | 2400.6082 | 2290.3733 | 2180.1384 | 2069.9035 | 1959.6686 | 1849.4337 | 1739.1988 | 1628.9639 | 1518.729 | 1408.4941 | 1381.7373 | 1354.9804 | 1328.2236 | 1301.4667 | 1274.7099 | 1247.953 | 1221.1962 | 1194.4393 | 1167.6825 | 1140.9256 | 1129.4438 | 1117.9619 | 1106.48 | 1094.9982 | 1083.5163 | 1080.8131 | 1078.1098 | 1075.4065 | 1072.7033 | 1070
[9 empty] | Res PV - Seattle - Constant | 2769.7352 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973 | 2639.7973
Res PV - Chicago - Low
Res PV - Chicago - Mid
Res PV - Chicago - Constant
Res PV - Kansas City - Low
Res PV - Kansas City - Mid
Res PV - Kansas City - Constant
Res PV - Los Angeles - Low
Res PV - Los Angeles - Mid
Res PV - Los Angeles - Constant
Res PV - Daggett, CA - Low
Res PV - Daggett, CA - Mid
Res PV - Daggett, CA - Constant
[10 empty] | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
[8 empty] | Fixed Operation and Maintenance Expenses ($/kW-yr) | Res PV - Seattle - Low | 23.4278 | 21.4755 | 18.7685 | 17.7363 | 16.6052 | 15.4742 | 14.3431 | 13.2121 | 12.0811 | 10.95 | 9.819 | 8.6879 | 7.5569 | 6.4259 | 6.2701 | 6.1143 | 5.9586 | 5.8028 | 5.6471 | 5.4913 | 5.3356 | 5.1798 | 5.024 | 4.8683 | 4.7938 | 4.7193 | 4.6448 | 4.5703 | 4.4958 | 4.4766 | 4.4575 | 4.4383 | 4.4192 | 4.4
[9 empty] | Res PV - Seattle - Mid | 23.4278 | 21.4755 | 20.6026 | 20.0867 | 19.2049 | 18.323 | 17.4411 | 16.5592 | 15.6773 | 14.7955 | 13.9136 | 13.0317 | 12.1498 | 11.268 | 11.0539 | 10.8398 | 10.6258 | 10.4117 | 10.1977 | 9.9836 | 9.7696 | 9.5555 | 9.3415 | 9.1274 | 9.0356 | 8.9437 | 8.8518 | 8.76 | 8.6681 | 8.6465 | 8.6249 | 8.6033 | 8.5816 | 8.56
[9 empty] | Res PV - Seattle - Constant | 23.4278 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755 | 21.4755
Res PV - Chicago - Low
Res PV - Chicago - Mid
Res PV - Chicago - Constant
Res PV - Kansas City - Low
Res PV - Kansas City - Mid
Res PV - Kansas City - Constant
Res PV - Los Angeles - Low
Res PV - Los Angeles - Mid
Res PV - Los Angeles - Constant
Res PV - Daggett, CA - Low
Res PV - Daggett, CA - Mid
Res PV - Daggett, CA - Constant
[10 empty] | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
[8 empty] | Variable Operation and Maintenance Expenses ($/MWh) | Res PV - Seattle - Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Seattle - Mid | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Seattle - Constant | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Chicago - Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Chicago - Mid | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Chicago - Constant | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Kansas City - Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Kansas City - Mid | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Kansas City - Constant | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Los Angeles - Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Los Angeles - Mid | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Los Angeles - Constant | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Daggett, CA - Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Daggett, CA - Mid | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Daggett, CA - Constant | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
[6 empty] | Finance |  | Assumptions | Inflation Rate | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5%
[9 empty] | Interest Rate Nominal - Low | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73%
[9 empty] | Interest Rate Nominal - Mid | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73%
[9 empty] | Interest Rate Nominal - Constant | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73%
[9 empty] | Calculated Interest Rate Real - Low | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2%
[9 empty] | Calculated Interest Rate Real - Mid | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2%
[9 empty] | Calculated Interest Rate Real - Constant | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2% | 1.2%
[9 empty] | Interest During Construction - Nominal | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73% | 3.73%
[9 empty] | Rate of Return on Equity Nominal - Low | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03%
[9 empty] | Rate of Return on Equity Nominal - Mid | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03%
[9 empty] | Rate of Return on Equity Nominal - Constant | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03% | 9.03%
[9 empty] | Calculated Rate of Return on Equity Real - Low | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371%
[9 empty] | Calculated Rate of Return on Equity Real - Mid | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371%
[9 empty] | Calculated Rate of Return on Equity Real - Constant | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371% | 6.371%
[9 empty] | Debt Fraction - Low | 60% | 60.77% | 61.54% | 62.31% | 63.08% | 63.85% | 64.62% | 65.38% | 66.15% | 66.92% | 67.69% | 68.46% | 69.23% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70%
[9 empty] | Debt Fraction - Mid | 60% | 60.38% | 60.77% | 61.15% | 61.54% | 61.92% | 62.31% | 62.69% | 63.08% | 63.46% | 63.85% | 64.23% | 64.62% | 65% | 65% | 65% | 65% | 65% | 65% | 65% | 65% | 65% | 65% | 65% | 65% | 65% | 65% | 65% | 65% | 65% | 65% | 65% | 65% | 65%
[9 empty] | Debt Fraction - Constant | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60% | 60%
[9 empty] | Tax Rate (Federal and State) | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74% | 25.74%
[9 empty] | WACC Nominal - Low | 5.274% | 5.226% | 5.178% | 5.129% | 5.081% | 5.033% | 4.985% | 4.937% | 4.889% | 4.841% | 4.792% | 4.744% | 4.696% | 4.648% | 4.648% | 4.648% | 4.648% | 4.648% | 4.648% | 4.648% | 4.648% | 4.648% | 4.648% | 4.648% | 4.648% | 4.648% | 4.648% | 4.648% | 4.648% | 4.648% | 4.648% | 4.648% | 4.648% | 4.648%
[9 empty] | WACC Nominal - Mid | 5.274% | 5.25% | 5.226% | 5.202% | 5.178% | 5.154% | 5.129% | 5.105% | 5.081% | 5.057% | 5.033% | 5.009% | 4.985% | 4.961% | 4.961% | 4.961% | 4.961% | 4.961% | 4.961% | 4.961% | 4.961% | 4.961% | 4.961% | 4.961% | 4.961% | 4.961% | 4.961% | 4.961% | 4.961% | 4.961% | 4.961% | 4.961% | 4.961% | 4.961%
[9 empty] | WACC Nominal - Constant | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274% | 5.274%
[9 empty] | WACC Real - Low | 2.706% | 2.659% | 2.612% | 2.565% | 2.518% | 2.471% | 2.424% | 2.377% | 2.33% | 2.283% | 2.236% | 2.19% | 2.143% | 2.096% | 2.096% | 2.096% | 2.096% | 2.096% | 2.096% | 2.096% | 2.096% | 2.096% | 2.096% | 2.096% | 2.096% | 2.096% | 2.096% | 2.096% | 2.096% | 2.096% | 2.096% | 2.096% | 2.096% | 2.096%
[9 empty] | WACC Real - Mid | 2.706% | 2.683% | 2.659% | 2.636% | 2.612% | 2.589% | 2.565% | 2.542% | 2.518% | 2.495% | 2.471% | 2.448% | 2.424% | 2.401% | 2.401% | 2.401% | 2.401% | 2.401% | 2.401% | 2.401% | 2.401% | 2.401% | 2.401% | 2.401% | 2.401% | 2.401% | 2.401% | 2.401% | 2.401% | 2.401% | 2.401% | 2.401% | 2.401% | 2.401%
[9 empty] | WACC Real - Constant | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706% | 2.706%
Capital Recovery Factor (CRF) Nominal - Low
Capital Recovery Factor (CRF) Nominal - Mid
Capital Recovery Factor (CRF) Nominal - Constant
Capital Recovery Factor (CRF) Real - Low
Capital Recovery Factor (CRF) Real - Mid
Capital Recovery Factor (CRF) Real - Constant
[10 empty] | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
[8 empty] | Weighted Average Cost of Capital (WACC) (Nominal) (%) | Res PV - Seattle - Low
Res PV - Seattle - Mid
Res PV - Seattle - Constant
Res PV - Chicago - Low
Res PV - Chicago - Mid
Res PV - Chicago - Constant
Res PV - Kansas City - Low
Res PV - Kansas City - Mid
Res PV - Kansas City - Constant
Res PV - Los Angeles - Low
Res PV - Los Angeles - Mid
Res PV - Los Angeles - Constant
Res PV - Daggett, CA - Low
Res PV - Daggett, CA - Mid
Res PV - Daggett, CA - Constant
[10 empty] | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
[6 empty] | Grid Connection Costs |  | Grid Connection Costs (GCC) ($/kW) | Res PV - Seattle - Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Seattle - Mid | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Seattle - Constant | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Chicago - Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Chicago - Mid | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Chicago - Constant | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Kansas City - Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Kansas City - Mid | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Kansas City - Constant | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Los Angeles - Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Los Angeles - Mid | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Los Angeles - Constant | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Daggett, CA - Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Daggett, CA - Mid | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Res PV - Daggett, CA - Constant | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
[6 empty] | LCOE |  | Levelized Cost of Energy ($/MWh) | Res PV - Seattle - Low
Res PV - Seattle - Mid
Res PV - Seattle - Constant
Res PV - Chicago - Low
Res PV - Chicago - Mid
Res PV - Chicago - Constant
Res PV - Kansas City - Low
Res PV - Kansas City - Mid
Res PV - Kansas City - Constant
Res PV - Los Angeles - Low
Res PV - Los Angeles - Mid
Res PV - Los Angeles - Constant
Res PV - Daggett, CA - Low
Res PV - Daggett, CA - Mid
Res PV - Daggett, CA - Constant
[10 empty] | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
[6 empty] | Additional Factors |  | Tax Credit | 10 year CRF - Low | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61%
[9 empty] | 10 year CRF - Mid | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61%
[9 empty] | 10 year CRF - Constant | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61% | 11.61%
[9 empty] | Schedule | [34 empty] | 0 | bar: 2017 to 2050
PVD - Low
PVD - Mid
PVD - Constant
PFF - Low
PFF - Mid
PFF - Constant
[9 empty] | Year (Low) | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
[7 empty] | 0.2 | Depreciation Factor | 1
[7 empty] | 0.32 |  | 2
[7 empty] | 0.192 |  | 3
[7 empty] | 0.1152 |  | 4
[7 empty] | 0.1152 |  | 5
[7 empty] | 0.0576 |  | 6
[9 empty] | Year (Mid) | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
1
2
3
4
5
6
[9 empty] | Year (Constant) | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
1
2
3
4
5
6
[8 empty] | Tariff Schedule | ($/Wdc) | 0 | 0.1 | 0.1 | 0.09 | 0.06 | 0.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | X |  | Graphics | bar: 2026 to 2050
Values overlap for all cases
Values overlap for all cases
|  | X |  |  | Data Sources for Default Inputs
Current Costs:
[6 empty] | Available Capacity (GW) |  |  |  | 2018: Pieter Gagnon, Robert Margolis, Jennifer Melius, Caleb Phillips, Ryan Elmore. (2016). Rooftop Solar Photovoltaic Technical Potential in the United States: A Detailed Assessment. NREL TP-6A20-65298
[6 empty] | Net Capacity Factor (%) |  |  |  | 2018: National Renewable Energy Laboratory. PVWATTS v5. Representative of national range of capacity factors.
[6 empty] | Overnight Capital Cost ($/kW) |  |  |  | 2018: Fu, R., D. Feldman, and R. Margolis. 2018. U.S. Photovoltaic (PV) Prices and Cost Breakdowns: Q1 2018 Benchmarks for Residential, Commercial, and Utility-Scale Systems. Golden, CO: National Renewable Energy Laboratory
[6 empty] | Fixed Operating Expenses ($/kW-yr) |  |  |  | 2018: Fu, R., D. Feldman, and R. Margolis. 2018. U.S. Photovoltaic (PV) Prices and Cost Breakdowns: Q1 2018 Benchmarks for Residential, Commercial, and Utility-Scale Systems. Golden, CO: National Renewable Energy Laboratory
[6 empty] | Variable Operating Expenses ($/MWh) |  |  |  | 2018: N/A
[6 empty] | Grid Feature Cost ($/kW) |  |  |  | 2018: N/A
[6 empty] | Spur Line Cost ($/kW) |  |  |  | 2018: N/A
Future Projections Costs:
[6 empty] | Net Capacity Factor (%) |  |  |  | 2018: Jones-Albertus, R et al (2015). Technology Advances Needed for Photovoltaics to Achieve Widespread Grid Price Parity.
[6 empty] | Overnight Capital Cost ($/kW) |  |  |  | 2018: Literature review of Residential PV capital cost projections. See accompanying ATB presentation for more information.
[6 empty] | Fixed Operating Expenses ($/kW-yr) |  |  |  | 2018: The ratio between O&M costs to CAPEX from: Fu, R., D. Feldman, and R. Margolis. 2018. U.S. Photovoltaic (PV) Prices and Cost Breakdowns: Q1 2018 Benchmarks for Residential, Commercial, and Utility-Scale Systems. Golden, CO: National Renewable Energy Laboratory. See accompanying ATB presentation for more information.
[6 empty] | Variable Operating Expenses ($/MWh) |  |  |  | 2018: N/A
[6 empty] | Grid Connection Cost ($/kW) |  |  |  | 2018: N/A
X
Note on T26: bsigrin: Source: Pieter Gagnon, Robert Margolis, Jennifer Melius, Caleb Phillips, Ryan Elmore. (2016). Rooftop Solar Photovoltaic Technical Potential in the United States: A Detailed Assessment. NREL TP-6A20-65298
Note on S54: bsigrin: Assume time value of construction is negligible

## DSCF
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Capacity Factor (dimensionless)